









Release Date:  Oct










Request for Proposal  
Non-Pipe Alternative to Lansing/Freeville Reinforcement Gas Pipeline Project

December 4, 2019
Table of Contents

3I.
Overview


3A.
Introduction


3B.
Background


4C.
RFP Purpose


5II.
RFP Project Description


5A.
NPA Resource(s) Need Summary


6B.
Resource Requirements


8C.
Eligible Resources Types


10D.
Project Economics


11E.
Available Data and Information


14III.
RFP Overview


14A.
Expected Schedule


14B.
Communications and Questions


15C.
Submittal Instructions


15D.
General Guidelines


17IV.
RFP Proposal Format and Content


20V.
Proposal Evaluation


23VI.
Interconnection and Standards


23A.
Dedicated Facilities and Charges (as applicable)


23B.
Standards


26VII.
RFP Terms and Conditions


26A.
General


26B.
Disclaimers for Rejecting Proposals


27C.
Proprietary Information


27D.
Representations and Warranties, Binding Proposals


29E.
Credit and Performance Assurances


30F.
Bidder’s Waiver of Claims and Limitations of Remedies


31G.
Termination of the RFP and Related Matters


32VIII.
Attachments


32A.
Definitions


32B.
Customer Counts by Street


32C.
NYSEG Lansing Gas Franchise Filing


32D.
Lansing NPA Confidentiality Agreement


32E.
Lansing NPA Third Party Lite Assessment


32F.
Data Security Rider and Cyber Insurance


32G.
Bidder Proposal Template




I. Overview
A. Introduction 

New York State Electric & Gas (“NYSEG”), a subsidiary of AVANGRID, is issuing this Request for Proposal (“RFP”) to qualified parties (“Bidders”) with the capability to develop and deliver innovative solutions to address gas reliability in the Tompkins County region of the NYSEG service territory.
B. Background

NYSEG’s existing natural gas distribution system serving the Lansing area in Tompkins County is capacity constrained. This constraint is the result of an increase in the gas load over time which has led to lower gas pressure available in the northern part of this area when load is high. This lowered gas pressure is a concern for the reliable operation of the gas distribution system in this area. Because NYSEG has an obligation to reliably serve its existing gas customers, a moratorium (circa February 2015) was placed on processing applications for new gas service in the area.  
Because a portion of the Tompkins County NYSEG natural gas service area has been under a moratorium for new gas customers for several years, NYSEG previously proposed the Lansing/Freeville Reinforcement Gas Pipeline Project to address the identified needs in the local natural gas distribution system. A November 16, 2017 New York Public Service Commission Order in Case 17-G-0432 guided NYSEG to seek innovative alternatives to the proposed Lansing/Freeville Reinforcement Gas Pipeline Project. On December 18, 2017 NYSEG solicited and later received responses to an RFP which had sought innovative alternative proposals to satisfy the needs which would otherwise have been addressed by the Lansing/Freeville Reinforcement Gas Pipeline Project. 
Through the 2017 RFP process, no proposals were received that met all the identified requirements. NYSEG subsequently issued a Request for Information (“RFI”) on June 28, 2019 with revised requirements; seeking information about potential viable Non-Pipe Alternative (“NPA”) solutions to NYSEG’s identified gas constraints in Tompkins County. NYSEG received a significant response to that RFI. Consequently, this RFP has been developed from the responses received via the RFI. 
C. RFP Purpose
NYSEG is issuing this RFP for resources which will defer or avoid the need for the construction of the planned Lansing/Freeville Reinforcement Gas Pipeline Project, by either or both the reduction of existing natural gas usage and/or the introduction of additional natural gas equivalent supply (in various forms of energy) into the Lansing area. NYSEG is encouraging the development and proposal of potential NPA solutions through a wide market audience, seeking the best and most innovative Proposals to accomplish these objectives. NYSEG will evaluate the results of this RFP to select cost-effective solution(s) that would meet the identified need, either individually or collectively.
The proposed NPA solution(s) must address the Companies’ responsibility to provide safe and reliable service at reasonable costs and in an environmentally-sound manner.
The term of the agreement associated with this RFP is expected to be 11/01/2021 – 10/31/2031 (10 years).
If you are interested in collaborating with other potential Bidders to this RFP, please send an email to the Lansing mailbox (lansingnpa@avangrid.com) by January 17, 2020 indicating such interest. NYSEG will share your contact information with all other parties who are also interested in collaborating with their RFP Proposals.
II. RFP Project Description
A. NPA Resource(s) Need Summary
The resource needs for this RFP are summarized in the table below, and further detailed in sections II.B through II.C.
	Goal
	To improve system endpoint pressure toward a 70% Maximum Allowable Operating Pressure (“MAOP”) in order to mitigate service reliability concerns in the Lansing area. 

	Identified Need
	A reduction (or addition) of approximately 120 Mcfh
 in the defined Lansing moratorium area. 

	Term
	10 Years (11/01/2021-10/31/2031)


The existing low-pressure issues in the Lansing Moratorium area, which cause system reliability concerns, occur during times of peak gas usage. Proposed NPA solutions should focus on technology’s ability to reduce gas usage during these peak periods. 

NYSEG’s system planning pressure loss criteria for gas distribution systems indicates action is needed when pressure falls lower than 50% of the MAOP which, in this area, would be 30 pounds per square inch, gauge (“psig”). The goal of this RFP is to improve system endpoint pressure toward a 70% MAOP in order to mitigate service reliability concerns in the Lansing area. Peak gas usage times are typically in the mornings of the coldest days of the year during the months of November through March. For context, the Lansing system is a 60 psig system. In July the system pressure measures around 55 psig. A pressure of 21.9 psig was recorded at the Lansing terminal endpoint on January 31, 2019. The lowest pressure modeled for the design heating degree day (75 Heating Degree Day) is approximately 17 psig, which is 28% of MAOP.  For reference, 75 Heating Degree Days is experienced when the average temperature on a given day is -10 degrees Fahrenheit.
The possibility for an additional pressure drop may occur with additional customers or load, and the potential for this situation triggered the previously described moratorium. Additionally, future issues could occur if current customers increase their load through installation of high-gas volume appliances (like backup generators or instantaneous water heaters). NYSEG has an obligation to serve existing customers and currently cannot connect new load in the moratorium area because of these limitations. The moratorium could extend to other areas within Tompkins County if the situation is not addressed through a non-pipeline alternative solution or a supply solution.

B. Resource Requirements
Resources proposed in response to this RFP must be able to address NYSEG’s responsibility to provide safe and reliable service at reasonable costs. 
NYSEG will accept both dispatchable and intermittent resources that are reliable and proven technologies for consideration as viable NPA solutions. Eligible technologies are further outlined in Section II.C.
Dispatchable resources are resources that can be called upon and used on demand to improve gas system pressure. To address NYSEG’s responsibility to provide safe and reliable service, any proposed dispatchable resource must be able to provide a peak day gas demand reduction or increase in gas supply over a minimum of a 24-hour period that begins at 6:00 am Eastern Standard Time. The proposal must not create a delayed increase in hourly or daily gas demand above base levels. The reduction or increase must be available for a minimum of three (3) consecutive days. Given current loads and weather patterns, approximately 20 – 30 days per year would require peak shaving or another alternative. These requirements are summarized in the table below:
	Period
	6:00 am – 12:00 pm 

	Duration
	Minimum 3 consecutive days

	Hours per Day
	Estimated 6 hours per day 

	Estimated Days/Year
	20-30

	Months of Need
	November 1st – March 31st 


Intermittent resources are resources that cannot be used on demand. These may include, but are not limited to, energy efficiency measures or fuel switching.
A reduction (or addition) of approximately 120 Mcfh in the Lansing moratorium area is projected to improve the system endpoint pressure to 70% of MAOP. This reduction or addition is needed in the immediate area of the current Lansing moratorium in order to be effective at this level. Reduction (or addition) of natural gas Mcfh in areas adjacent to, but outside of, the Lansing moratorium area may also be proposed in response to this RFP, but such adjacent reductions or additions will not provide as great an effect on system endpoint pressure as will those located in the Lansing moratorium area. 
To better illustrate the potential effect of NPA solutions located both inside the Lansing moratorium area and adjacent to but outside of the Lansing moratorium area, please see Figure 1 on page 7. Note the Figure illustrates the Zones which will be of “Highest”, “Significant”, “Moderate” and “Little to No Value” impact to the solution. 

[image: image2.png]East.
Lansing

/o smaputs* ]
Ostrand Rd

Ludlowyille,

LANSING

N
\ ’V’ye’s So ufh!
l'ansing,

Asbury

Van

Asbury
o

Head,
Corners

BV N

ity
VALILIEYerS | @ '('(

LansinGe

= —|_ —
ibliG G e of
\Cayuga
Eleiies
(9 Cayuga Heights)

Corners

npkins.

Mosher|Corners

Valley
o

Grotto,

Plea%?
ea

GROTON

O\éeeru‘“”e Ra F’erllfon.

TH 0 W 1 11 (] e ——— e—— i — 6 1 UV /€]

@ .
|Peruville Rd

(38)

Rd:o

Caswell

W |Dryden

Free‘ville

&

DRYDEN Vlllage O £

ST

Willow
Etna Rd

Glen
/

=<
RS

=~

d

I.Ellis
Hi
C

Turkey Hill R

Hollo
ibbards, W

Expected Value
e Zone 1 - Highest
Zone 2 - Significant

Zone 3 - Moderate

Zone 4 - No Value





Figure 1. Map of Areas of Impact to Lansing Gas Moratorium
An NPA resource’s impact to the gas distribution system will vary depending on which zone (Zones 1-4) the resource is located. Resources located in Zone 1 will provide system relief at 100%, in other words a resource located in Zone 1 that reduced or added load by 1 Mcfh would provide 1 Mcfh of system relief to the moratorium area. Resources located in Zone 2 are only 40% as effective as a resource in Zone 1, in other words a 1 Mcfh reduction or addition in Zone 2 would provide 0.4 Mcfh of system relief to the moratorium area. Resources located in Zone 3 are only 10% as effective as resources in Zone 1, in other words a 1 Mcfh reduction or addition in Zone 3 would provide 0.1 Mcfh in system relief to the moratorium area. A reduction or addition in Zone 4 would provide no effect on the moratorium area. This is also illustrated in the table below:

Net Effect of 1 Mcfh NPA Resource by Zone

	Zone
	% effectiveness
	Net MCFH Relief

	1
	100
	1

	2
	40
	0.4

	3
	10
	0.1

	4
	0
	0


If resources are selected, contracted and installed as a result of this RFP, and if a proven improvement in increased pressure in the Lansing Moratorium area over 1 – 2 heating seasons is verified, the current moratorium will be reviewed. While NYSEG notes that the full 120 Mcfh of natural gas reduction or additional supply is needed to allow consideration of fully lifting the moratorium, as previously stated (in the footnote on page 6), NYSEG will consider proposals which are below 120 Mcfh but which may make a material contribution to reaching the desired 70% MAOP, as well as proposals which are above 120 Mcfh which may provide additional system improvement above that which is specifically requested in this RFP.

Actual measured results of system endpoint pressures following implementation of solutions will provide an indication of what portion of requested new gas service could be accommodated. To the extent that more than 120 Mcfh of natural gas reduction or additional supply becomes available through the RFP process, the likelihood of accommodating additional demand will increase.
Once lifted, a moratorium may again be considered if and when system endpoint pressures are measured at levels consistently and materially below the 70% of MAOP level.
C. Eligible Resources Types
The proposed resource(s) will be required to operate as needed to support the local gas distribution system. NYSEG will consider Proposals that may include one or more of a combination of different technologies that meet the resource requirements. Resources that provide system relief coincident with peak demand periods are preferred. Resources that do not provide system relief coincident with peak demand may be adjusted to account for the technology specific “coincidence factor” associated with the percentage of load relief which is expected to occur during peak demand periods.
Resources may be in the form of any or all of the following resource types:

· Incremental natural gas energy efficiency resources, which may include but are not limited to the following:

· High efficiency natural gas heating and cooling equipment

· High efficiency natural gas water heating equipment
· Incremental natural gas demand response resources, which may include but are not limited to the following:
· Fuel switching technology or controls

· Wi-Fi thermostats with demand response programs
· Smart water heating

· Fuel substitutions (which may benefit from a net carbon reduction evaluation) including electric/geothermal heat pumps and/or other forms of “beneficial electrification”
, which may include but are not limited to:

· Heat pump water heaters

· Ground source heat pumps

· Water source heat pumps

· Air source heat pumps

· Installation of other heat pump technology that moves equipment off of gas

· Introduction of RNG, CNG, LNG to the extent allowed by local, State and Federal laws and regulations
, and
· Other resources which meet all the requirements of this RFP; which may include but are not limited to the following:
· Heat recovery systems

· Combined heat and power technology

· Building envelope measures to reduce HVAC load, such as insulation and air sealing

· Financing for efficiency or fuel switching resources

· Education/community outreach initiatives that facilitate measureable gas load reductions

· Electric energy efficiency, renewable energy, or storage technologies that offset additional electric costs resulting from fuel switching/beneficial electrification

NYSEG will not consider any natural gas load reductions or equivalent supply additions which are already in service as of the release date of this RFP, December 4, 2019, since projects which are already in service cannot contribute to a future change in the system pressure for the Moratorium area. Exceptions may include incremental reductions associated with projects which are already in service, as specified previously, and/or projects which may have been initiated prior to the release of this RFP but which have not created natural gas reductions or supply increases. NYSEG will also not consider as a valid Proposal to this RFP a natural gas pipeline alternative to the proposed Lansing/Freeville pipeline. 
Bidders may submit multiple Proposals for any and all or any combination of resources to meet the needs listed above. NYSEG welcomes comprehensive portfolio Proposals that address system needs through a variety of measures. NYSEG is very interested in receiving collaborative Proposals to this RFP and encourages potential Bidders to work together as appropriate. NYSEG also reserves the right, but not the obligation to work with Bidders to further develop a portfolio of projects/Proposals or to aggregate Proposals to meet the resource requirements. 
D. Project Economics 
Through this RFP, NYSEG is seeking innovative, cost effective solutions which meet the natural gas delivery needs identified elsewhere in this RFP. A successful Proposal under this RFP will provide the natural gas supply reductions or equivalent additions which are described throughout this RFP and will be cost effective either individually or when combined with other projects in a portfolio when compared to the Lansing/Freeville Reinforcement Gas Pipeline Project. 
To evaluate the cost effectiveness of the Proposals to this RFP, NYSEG will conduct a Benefit Cost Analysis (”BCA”) for each RFP Proposal. To conduct this BCA, NYSEG will require detailed resource cost information as requested later in this RFP and will utilize the estimated value of the deferral of a Lansing/Freeville Reinforcement Gas Pipeline Project (reliability portion) for a period of at least 10 years as a benefit to the NPA project in the economic analysis. The Net Present Value (NPV) of a 10-year deferral value is estimated to be approximately $10.7 million in 2019 dollars. 
NYSEG will allow incentive stacking under the NPA RFP so long as the rules of all incentive programs are adhered to and the addition of the NPA funding does not cause the total incentives received to exceed 100% of the projects’ costs. Bidders should provide clear information about additional incentives and project funding in their Proposals.
E. Available Data and Information
NYSEG will make as much relevant data available as possible to Bidders. NYSEG, to the best of its knowledge, will provide the most accurate data at the point in time when it is provided to Bidders; however, NYSEG will endeavor to provide accurate data but data accuracy may be impacted due to changing information or circumstances outside of NYSEG’s control. 
i. Customer Counts

As of November 2019, there were 388 non-residential and 1,923 residential customers in the moratorium area of Lansing (total of 2,311 customers). 
ii. Customer Usage Data

The average peak usage for a residential customer in the Lansing Moratorium area is 0.08-0.085 Mcfh.
Customer count and available average usage information at the Town, Village and County levels is hosted by NYSERDA at:  https://www.nyserda.ny.gov/All-Programs/Programs/Clean-Energy-Communities/Community-Energy-Use-Data. Please consult this data source for aggregated natural gas usage as well as more detailed customer counts.
The following data will be made available upon request and execution of the Confidentiality Agreement and Data Security Rider (Attachments D and F): 

· Available peak MCFH, monthly usage and addresses for residential and non-residential customers in the Lansing Gas Moratorium Area.
· Available peak MCFH and addresses for residential and non-residential customers with AMI gas meters outside of the Lansing Gas Moratorium Area.
iii. Count of Residential and Non-Residential Customers by Street  
Attachment B to this RFP is a table showing the count of residential and non-residential customers on each street in the Lansing moratorium area. This data in this chart has been updated since the RFI which was issued on June 28, 2019. 
iv. NYSEG Gas Tariffs 

If Bidders are interested in information regarding current NYSEG natural gas tariff structures, please use the following link. 
v. Lansing NPA RFI Q&A Documents
Two (2) Question and Answer Documents were issued by NYSEG during the June 2019 Lansing NPA RFI process. These documents are posted to the NYSEG Website, available at this link. 
vi. Lansing Gas Franchise Filing

Attachment C to this RFP is the NYSEG Lansing Gas Franchise Filing which includes a detailed map of the natural gas moratorium area in Lansing, NY.
vii. CNG/LNG/RNG Injection Sites

NYSEG has identified two viable areas for potential CNG/LNG/RNG injection sites illustrated in Figure 2 on page 13; these are the preferred injection sites. Bidders may propose alternative injection sites but should note that sites outside of those depicted on the map below may not provide adequate value to the system; NYSEG may evaluate alternative injection sites upon request from Bidders during the Q&A period of this RFP. 
[image: image3.png]o Ra |
0 % % % 1 | s
By -
e e e e | Sk Rd ) ol z
: i “ z ! 8
[ Miles z o
- & @
S Ower R4 2 z |_§_
Wilson Rd % Widway ‘;.: 5 | &
£ o 5
)
= 1 - pR—
< » ©
2 > (-% S |
a. < R Howland
34B, South Terpening, Cornere ’C
Lansing C |
Myers ansing Corners: = =
© - r
g o 2 B =
= g I
2 2 ® P
3/ 3 ) <
3 = £ 2 =
= = [~ —
-3 ® Jnsh = @ o
) 3 shury; < © o
[ ;’ R Asbury »
\\ Nott o o e | Yoy
orten . Head
- ofe oy Corners \
\ ®¢fer Rd & 5
wf 2
\ BVS L Run ~ Rd
€26

ULYSSES \

PJ\E
2
4
£
[
w
o
3
merl

!

Farrell

N Tripham

I-_| Cherry Rd

Legend

RrRd

Sl iage of
ayuga Helghts I__/Lr__, 1

g

n e

z

< | =

-
|
Ix
3
©
=
o
=

Z,

=

2

=

=





Figure 2. Map of Potential CNG/LNG/RNG Injection Sites

III. RFP Overview
A. Expected Schedule
The following schedule provides milestones associated with this RFP process.
	RFP Milestone                                Expected Completion Date


	December 4, 2019

Issue RFP

	January 10, 2020

Pre-bid conference

	January 17, 2020                           Last day for Bidders to indicate collaboration interest

	February 14, 2020

 Bidder questions due

	February 21, 2020

 NYSEG responses to questions due

	February 21, 2020                         Last Day for Bidder Response Template training requests


	March 6, 2020
                             RFP responses due

	End-April 2020

               RFP Evaluations Complete 

	Mid-May 2020

               File Petition with PSC


	November 2021 (or sooner)
 Anticipated resource in-service date


B. Communications and Questions

To help ensure accuracy and transparency of the information provided, NYSEG asks that all communications relative to this RFP take the form of an e-mail directed to:

LansingNPA@Avangrid.com
Bidders are encouraged to submit questions at any time prior to the noted above last day for Bidder questions which is – February 14, 2020. Questions and answers with the originating parties’ name withheld, will be shared via email with all interested parties and will also be posted to NYSEG’s website (click here) prior to the deadline for RFP responses. Bidders are encouraged to mark any questions which are confidential as such, and if in agreement that the response should be confidential, NYSEG will respond to the questioner confidentially regarding those confidential questions only. NYSEG may, in its sole discretion, decline to respond to any email or other inquiry without liability or responsibility.

C. Submittal Instructions

NYSEG respectfully requests that all responses to this RFP be limited to 40 pages, including all attachments, except for Attachments A-G to this RFP. This limitation is intended to aid both Bidders and reviewers, and those portions of Responses which exceed the 40-page limit (not including Attachments A-G) will not be evaluated. This 40-page limit includes all other attachments, specification sheets, brochures and other addenda.
All Proposals from Bidders must be received in electronic form via email submission to LansingNPA@Avangrid.com by March 6, 2020 at 5:00 p.m. (EST). 
The electronic documents must be in a Microsoft Word, Excel or Adobe (pdf) file, as applicable. Please note that it is not necessary to submit a paper copy of the Proposals. No other software-created documents should be provided, nor should hard copy alone documents be accepted. Electronic documents must be emailed to LansingNPA@Avangrid.com. Electronic documents should be unlocked to allow calculations to be viewed.
D. General Guidelines 

The following general guidelines are provided to clarify the expectations of this RFP and to assist Bidders in developing Proposals: 

· NYSEG will not consider any natural gas load reductions or equivalent supply additions which are already in service as of the release date of this RFP. Projects which are already in service cannot contribute to a future change in the system pressure for the Moratorium area. Exceptions may include incremental reductions associated with projects which are already in service and/or projects which may have been initiated prior to the release of this RFP but which have not created natural gas reductions or supply increases. NYSEG will also not consider as a valid Proposal to this RFP a natural gas pipeline alternative to the proposed Lansing/Freeville pipeline. 
· Proposals must be capable of providing the reliability support and satisfying the other demand-related requirements indicated within this RFP. 

· NYSEG may accept a portfolio of projects/Proposals or aggregate Proposals to meet the resource requirements. Notwithstanding the requirements for cost effective solutions to the system needs identified in this RFP, a Proposal which offers a diverse set of solutions may be considered ahead of a single solution. 

· NYSEG may ask Bidders to elaborate or clarify specific points or portions of their Proposals. Clarification requests may take the form of written questions, phone calls or requests for in-person meetings. 
· NYSEG reserves the right to make changes to this RFP by issuing one or more addenda or amendments and to distribute additional clarifying or supporting information relating to any changes. Information will be distributed via email to Bidders that have expressed interest in the RFP. 
· Bidders are encouraged to provide and release necessary authorizations for NYSEG to verify any of such Bidder’s previous work, except where it is contractually prohibited from doing so pursuant to customer agreements. 
· If a Proposal is selected to move forward, Bidders will be responsible for obtaining site control and all applicable permits associated with executing their Proposal. 
IV. RFP Proposal Format and Content
Bidders must provide the information described below in order for NYSEG to consider their Proposals. 
NYSEG will entertain Proposals that meet the requirements described within this RFP, including being located within the Lansing natural gas moratorium or adjacent areas. 
Proposals should be limited to forty (40) pages, including all supplemental documents. 
Bidders should provide the following information and in the format described here. Required information for all resources and additional required information “if applicable” is described below. Please note that all information requested below should be included in the proposal sections 1 – 7 shown below. There should be no other documents submitted to NYSEG with the RFP Proposal.
	Proposal Section
	Proposal Section Title

	1
	Executive Summary 

	2
	Body of Proposal

	3
	Pricing

	4
	Bidder Qualifications and References

	5
	Assumptions and Exceptions

	6
	Bidder Proposal Template (Attachment G)

	7
	Attachments E (Third Party Lite Assessment) and if applicable and not already executed, Attachment D (Confidentiality Agreement) and Attachment F (Data Security Rider and Cyber Insurance Requirements)


1. Executive Summary – a 1-2-page, concise review of the solution presented in the Proposal. This summary should include the size of the resources proposed in Mcfh.
2. Body of Proposal – This information should constitute the majority of the allowed forty (40) pages for the Proposal. Please note that not all of the following information is required for all Proposals, but that all relevant and applicable details of the solution should be provided here, including but not limited to:

a.  Description and location(s) of the Resources proposed.

b. Amount of gas to be reduced or added to the system in Mcfh including back up calculations.

c. Expected project timeline and anticipated in service date for Resources.

d. If applicable, a description (quantity, size, manufacturer, etc.) of the main mechanical and electrical pieces of equipment used for the project. For example, this would include a description of heat pumps and other beneficial electrification equipment which is proposed, if applicable.
e.  If applicable, information about the fuel supply including duration of fuel stored onsite, and the ability to obtain and replenish the fuel supply to the facility.

f. If leasing equipment, specify the terms and the final cost to the customer. 
g.  Specify any electric or gas distribution system interconnection need.

h. Identify the method of customer acquisition (e.g. marketing, community events, educational initiatives, etc.). If collaboration with NYSEG or other entities is anticipated, outline expectations and associated pricing.
i. For energy efficiency and demand response Proposals: If applicable, include types and the amount of facilities at which the measure(s) will be implemented, including customer classes, end users served and for relevant energy efficiency and/or demand Proposal resources, individual facility hours of operation relative to applicable energy savings/reduction measures. Specify the measures that will make up the natural gas reduction.
j. Information describing to what extent the resource design involves clean power supply sources that minimize environmental impacts. 
k. If available, description of the maturity and proven reliability/performance of the proposed solution’s technology.
l. Dispatchable resources must be available by the twenty-four (24) hour notification period provided by NYSEG. 
m. Type of notice required for CNG/LNG/RNG suppliers (phone call, no notice, email, other type of system).
n. Provide a detailed Measurement and Verification plan which substantiates the reasonableness of the estimated supply or reduction values including methods that will be used to determine supply and/or savings performance from a specific NPA contracted project. It should be noted that for equipment conversions, NYSEG requires that gas equipment be removed from the customer site.
o. Developer must identify any other responses to this NPA RFP which they are a party to, and other NPA RFPs in which they have previously participated. 
3. Pricing

a. Provide the Proposal’s total cost in $/MCFH added or reduced. Please note that (1) MCFH as used here is approximately equal to 1,000,000 BTUs per hour. Please consult definitions section in Attachment A.
b.  Identify total project costs if different from proposal pricing.

c. Provide breakdown of all proposal costs, including but not limited to: upfront costs, customer acquisition, marketing, incentives, administration, M&V, site control, decompression station costs for CNG/LNG/RNG, etc.

d. Provide a breakdown of costs to NYSEG, to the customer, and details of other incentive programs to be utilized.
e. For RNG proposals for direct distribution system interconnection, provide pricing estimates for the following scenario:

	MCFH Resource Need
	ESTIMATED Hrs./Day
	Estimated Days/Year
	Months of Need
	Commodity Rate
	Estimated Total Price ($)/year

	120 MCFH
	6
	30
	November 1 –  March 31
	Bidder Provided
	Bidder 
Provided


f. For CNG/LNG/RNG proposals for delivered fuel, provide pricing estimates for the following scenario:

	MCFH Resource Need
	ESTIMATED Hrs./Day
	Estimated Days/Year
	Months of Need
	Demand Charge
	Commodity Rate
	Delivery Rate
	Estimated Total Price ($)/year

	120 MCFH
	6
	30
	November 1 –  March 31
	Bidder Provided
	Bidder Provided
	Bidder Provided
	Bidder Provided


4. Bidder Qualifications and References

a.  A description of Bidder’s experience in developing projects such as contemplated in the Proposal, particularly in New York. 
b.  Bidder contact information.

5. Assumptions and Exceptions

a.  Documentation of verified savings from comparable projects to substantiate the reasonableness of the estimated reduction values.

b.  Operational constraints associated with the proposed resources.

6. Bidder Proposal Template (Attachment G); this template is required for conducting the Benefit Cost Analysis, proposals that do not submit the template will not be evaluated. NYSEG may contact Bidders with questions and clarifications on their template in order to conduct the BCA. Bidders may also request one-on-one trainings with NYSEG for this template. The deadline for requesting training is February 21, 2020.
7. Attachments D (Confidentiality Agreement), E (Third Party Lite Assessment) and F (Data Security Rider and Cyber Insurance Requirements) - these documents will be required to be executed if a Bidder wants to keep their response confidential, if they wish to receive the available data listed in Section II.E., and if a contract is considered in the future as a result of a successful Proposal are required to be submitted with the RFP proposal.
V. Proposal Evaluation
To evaluate Proposals, NYSEG will utilize its BCA methodology for NPA. NYSEG uses the Societal Cost Test (“SCT”) as the primary measure of cost effectiveness in its BCA methodology. This cost test includes not only the direct costs and benefits of a project/program (e.g., capital costs, avoided upstream supply costs) but also broader externalities associated with the project/program (e.g., CO2 and other net non-energy benefits). The SCT aims to answer the question “Is the State of New York better off as a whole?” This methodology considers:

1. Reliability – the ability of the resource to contribute to the alleviation of the identified low-pressure situation; 
2. Economic Impact – To evaluate the cost effectiveness of the Proposals to this RFP, NYSEG will conduct a BCA for each RFP Proposal. To conduct this BCA, NYSEG will require resource cost information as requested in this RFP and will utilize the estimated value of the deferral of the reliability portion of the Lansing/Freeville Reinforcement Gas Pipeline Project for a period of at least 10 years as a benefit to the NPA project in the economic analysis. The Net Present Value (NPV) of a 10-year deferral value is estimated to be approximately $10.7M in 2019 dollars. 
3. Environmental impacts - including but not limited to, air, noise, visual, water and soil impacts. Specifically, net carbon reduction
 or lack thereof, may be considered;
4. Technical Reliability – the type of technology and the equipment being proposed. This will examine whether there is high reliability due to resource design that is tried and proven with historical evidence of high availability. 
NYSEG may include the following Benefits and Costs in its BCA methodology, provided that these Benefits and Costs are quantifiable:

Benefits:

· Avoided Distribution Infrastructure Costs

· Avoided Upstream Supply Costs

· Reliability/Resiliency Benefits

· Avoided Emissions, including avoided CO2 emissions from energy savings, and avoided Methane emissions from gas delivery.

Costs:

· Program Administration 

· Incremental Distribution System Investments

· Participant NPA Costs (in other words, the cost of the NPA solution other than administration)

· Alternative fuel costs

· Alternative fuel emissions

NYSEG will also consider the timing and availability of proposed solutions. Because this NPA RFP is meant to address a current system reliability need, solutions that provide system relief sooner than the required in service date of November 2021 are considered more favorably.

If a proposal does not pass the BCA or is not cost effective relative to other proposals NYSEG in their sole discretion may reevaluate the proposal with a lesser incentive than the proposed amount to determine if they can provide some level of funding that does pass the BCA. 
NYSEG requires that gas reductions through equipment replacements be determined through the specifications of the gas equipment that has been replaced and removed from the site. Acceptance of a proposal will occur based on the BCA score and proposal’s cost effectiveness. 
VI. Interconnection and Standards 

The Bidder will be expected to work with NYSEG to install any interconnections to NYSEG’s gas or electric distribution systems as may be required to operate/utilize the resources proposed. Generally, NYSEG will perform any required work to its distribution system for interconnection and Bidders must perform work on their side of the meter. All costs of interconnection will be included as a cost in the BCA analysis.
A. Dedicated Facilities and Charges (as applicable)
It is not required but it is possible that a Proposal to this RFP may require a separate (i.e. “dedicated”) “city gate tap” or other facilities connecting the resources to a gas supply pipeline or other source. Dedicated facilities in this case would be all facilities needed to interconnect this source of supply to the NYSEG natural gas distribution system. Bidder is solely responsible for the design, planning, permitting, installation and costs of the Dedicated Facilities (City Gate Tap).

B. Standards 
Proposals will be required to meet the following standards as appropriate:

a. Facility Standards. Facilities must be designed and constructed such that all gas supply, scheduling, transmission and distribution services shall be performed in compliance with all applicable laws, operating policies, criteria, rules, guidelines and tariffs of the NYPSC, FERC, State and Federal laws and regulations, follow Good Utility Practice and meet NYSEG’s design, construction standards, and operation and maintenance procedures. Bidder, at its own expense, shall fulfill all contractual, metering and interconnection requirements as set forth in NYSEG’s applicable tariffs, to the extent that they apply to FERC tariffs, and the terms required by any Service Agreement entered into as a result of any future RFP and meet any other state agency requirements (e.g. DEC).
b. Gas Supply Standards. To the extent that a resource proposed provides, utilizes or in any way modifies the natural gas supply to an end use customer, Bidder shall follow all procedures, rules and regulations which are a part of NYSEG’s Natural Gas Retail Access Program, including the Uniform Business Rules, ESCO Qualifications, Creditworthiness Requirements and NYSEG’s Gas Transportation and Supply Tariffs. Please click here to view the gas quality standards for RNG/CNG/LNG. Additionally, RNG producers must adhere to NYSEG’s How to Become a Natural Gas Producer process outlined at this link.
c.     Protective Apparatus. The project design and associated facilities must include but shall not be limited to the following safety and control equipment. NYSEG requires this be in place prior to operation of all facilities in order to protect its gas distribution system as well as Company personnel and the general public from potential damage or harm as a result of abnormal operating conditions. All of the following must be in accordance with the latest editions of NYSEG’s Gas Construction Standards, Gas Operating & Maintenance Procedures, USDOT 29 CFR Part 192, NYCRR Part 255, National Electric Code (NEC), National Fuel Gas Code and applicable National Fire Protection Association (NFPA), API, ANSI, ASME and AGA Classification of Gas Utility Areas for Electrical Installation standards: 
· safety relief valves to protect against gas system over pressurization;
· gas odorization equipment to ensure readily detectible levels of gas-in-air concentrations should a leak occur; 
· gas pressure, gas temperature, online water and hydrogen sulfide monitoring equipment capable of being remotely monitored; 
· Remote Terminal Unit (RTU) for local system operating function awareness and remote communication with NYSEG’s Gas Control Center; 
· site security devices such as lighting, equipment locks, building entry alarms and tamper-proof access gates; 
· combustible gas indicators to monitor for the presence of gas within facility areas and the installation of cathodic protection devices for all buried steel gas facilities 
d.    Demonstrate that they can obtain and comply with all required environmental and operating permits while meeting the requested reliability needs,

e. RFP Proposals which include “beneficial electrification” or other fuel switching from another fuel to electricity may require an analysis of their potential impact on the electric grid, any improvements which might be needed to the grid, and any costs which may be associated with those grid improvements. That analysis will not be completed as part of the evaluation of Proposals to this RFP. However, it will be a part of the BCA used to evaluate potential Proposals to a future RFP.
f. Any violations of the standards, terms and conditions of this RFP or future requirements provided in an amendment to the Bidder may result in performance penalties including but not limited to financial penalties, suspension, and/or termination.
VII. RFP Terms and Conditions
A. General
Bidders should clearly state all assumptions made about the meaning or accuracy of information contained in this RFP. In the absence of a question or clarifying assumption from a Bidder, each Bidder shall be deemed to have agreed with and understood the requirements of this RFP. While NYSEG has endeavored to provide accurate information to Bidders, NYSEG makes no such warranty or representation of accuracy. 
Any transaction resulting from this RFP will be subject to NYSEG receiving all required regulatory approvals, including, but not limited to, acceptance by the New York Public Service Commission (“NYPSC”) of the transaction as well as approval for cost recovery acceptable to NYSEG. Participants in this RFP agree to execute a definitive Agreement with terms customary in the industry and appropriate under the circumstances (“Agreement”).
This RFP shall not be construed to create an obligation on the part of NYSEG to enter into any contract, or to serve as a basis for any claim whatsoever for reimbursement of costs for efforts expended by Bidders. Furthermore, the scope of this RFP may be revised at the option of NYSEG at any time, or this RFP may be withdrawn or cancelled by NYSEG at any time. NYSEG shall not be obligated by any Proposals or by any statements or representations, whether oral or written, that may be made by NYSEG or its employees, principals or agent.

B. Disclaimers for Rejecting Proposals
It is solely the responsibility of each Bidder to ensure that all pertinent and required information is included in its Proposal. NYSEG reserves the right to determine, at its sole discretion, whether a Proposal is incomplete or non-responsive
This RFP does not constitute an offer to buy and creates no obligation to execute any Agreement or to enter into a transaction under an Agreement as a consequence of this RFP. NYSEG shall retain the right at any time, in its sole discretion, to reject any Proposal provided to this RFP. NYSEG also retains the discretion, in its sole judgment, to: (a) reject any Proposal on the basis that it does not provide sufficient ratepayer benefit or that it would impose conditions that NYSEG determines are impractical or inappropriate; (b) formulate and implement appropriate criteria for the evaluation and selection of Proposals; (d) modify this RFP as it deems appropriate to implement the RFP and to comply with applicable laws or other direction provided by the NYPSC; and (e) terminate the RFP. In addition, NYSEG reserves the right to either suspend or terminate this RFP at any time for any reason whatsoever. NYSEG will not be liable in any way, by reason of such withdrawal, rejection, suspension, termination or any other action described in this paragraph to Bidder(s). 
C. Proprietary Information

If a Proposal includes any proprietary data or information that a Bidder does not want disclosed to the public, such data or information must be specifically designated as such on each page on which it is found. NYSEG shall be held harmless from any claim arising from the release of proprietary information not clearly identified as such by a Bidder. Because of the need for public accountability, the following information regarding the Proposal shall not be considered proprietary, even if such information is designated as such:  pricing terms and non-financial information concerning compliance with RFP specifications.
Subject to the foregoing, NYSEG reserves the right in its sole discretion and without liability, to utilize any or all of the submissions, Proposals and materials received in connection with this RFP in NYSEG’s planning efforts and otherwise.
D. Representations and Warranties, Binding Proposals 

Bidder’s Proposal(s) shall be deemed to have made the following representations, warranties, and covenants to NYSEG, which representations, warranties, and covenants shall be deemed to be incorporated in their entireties into Bidder(s)’ Proposal(s). Any Proposal shall include Bidder’s agreement to be bound by the conditions of the RFP, including these conditions, in submitting Bidder’s Proposal. 
1. Bidder has read, understands and agrees to be bound by all terms, conditions and other provisions of the RFP Documents;  

2. Bidder has had the opportunity to seek independent legal and financial advice of its own choosing with respect to the RFP, the RFP Documents, including any appendices;  

3. Bidder acknowledges and agrees that, in NYSEG’s evaluation of Proposals pursuant to this RFP, NYSEG reserves the right to disqualify Bidder if it is unwilling or unable to meet NYSEG’s credit requirements;
4. Bidder has obtained all necessary authorizations, approvals and waivers, if any, required by Bidder as a condition of submitting its Proposal and, if Bidder’s Proposal is selected and a final Proposal (“Final Proposal”) is requested, Bidder will execute an Agreement with NYSEG;  Bidder may, but is not required to, include with their RFP response, preliminary agreements with all required Host Customers to participate as specified in the Bid response, which shall be replaced with binding Host Customer agreements prior to execution on any service agreement contemplated in this RFP;

5. Bidder is submitting its Proposal subject to all applicable laws and regulations;

6. Bidder has not engaged and covenants that it will not engage in any collusion or other unlawful or unfair business practices in connection with this RFP;

7. The information submitted by Bidder to NYSEG in connection with this RFP, and all information submitted as part of the Proposal is true and accurate as of the date submitted by Bidder. Bidder covenants that any information requested herein and such attachments, but not provided to NYSEG as part of the Proposal, will be provided to NYSEG on or before the date that Bidder specified for provision of the information in the timeline provided. Bidder also covenants that it will promptly update such information upon any material change thereto;

8. In addition, Bidder’s submission of a Proposal is their acknowledgement and agreement that:

a. NYSEG will rely upon all representations, warranties, and covenants in the Proposal Submittal Package; and

b. NYSEG may disclose information as set forth in the Confidentiality Agreement;  

9. Bidder represents and warrants that each project that is the subject of Bidder’s Proposal meets the design-life requirements of this RFP. In the case where a Host Customer which is a part of this agreement shall vacate the associated Host Customer facility used as a part of the NPA solution, the Bidder shall have the opportunity to propose to NYSEG the substitute of a similar resource, acceptance of which shall be at NYSEG’s sole discretion. In the case where a Host Customer shall vacate, and a substitute shall not be provided, further payments for that resource shall be permanently suspended; 

10. Bidder covenants that it will provide information requested not longer than one week following Bidder’s receipt of NYSEG’s request for such information;  
11. Bidder covenants that it will promptly provide NYSEG with any changes or updates to the implementation schedule;

12. Bidder covenants that it will promptly provide NYSEG with any changes to its proposal between the date of the Proposal and the execution of an Agreement, including any changes to applicable Host Customer sites and agreements;  

13. Bidder agrees and acknowledges that NYSEG reserves the right at any time, in its sole discretion, to abandon this RFP, to change any dates specified in this RFP, to change the basis for the evaluation of Proposals, to terminate further participation in this process by any party, to accept any Proposal or to enter into any Agreement, to evaluate the qualifications of Bidder and/or the terms and conditions of any Proposal, to reject any or all Proposals, to prohibit or limit mutually exclusive Proposals, to consider additional products, to change any form, document, term or condition used in this RFP at any time during the RFP process, or waive any irregularities, all without notice and without assigning any reasons and without incurring liability of NYSEG, or any of their respective subsidiaries, affiliates, or representatives to Bidder or any other party. NYSEG shall have no obligation to consider any Proposal submitted. NYSEG will not reimburse Bidder for its expenses related to this RFP under any circumstances, regardless of whether the bidding process proceeds to a successful conclusion or is abandoned. NYSEG shall not be deemed to have accepted any Proposal, and shall not be bound by any term thereof, unless and until an authorized representative of NYSEG executes an Agreement with Bidder;

14. Bidder agrees and acknowledges that information provided by it to NYSEG pursuant to this RFP will be subject to the disclosure requirements of the New York State Public Service Commission or other applicable law or regulation; and 
15. Bidder agrees and acknowledges that failure to meet reliability and regulatory requirements set forth within this RFP may result in financial adjustments and/or damages associated with non-performance of contracted resources. 
E. Credit and Performance Assurances

In its evaluation of a Proposal, NYSEG will consider Bidder’s capability to perform all of its financial and other obligations including, without limitation, Bidder’s ability to provide performance assurance that the resource would be available and operate as required under the executed Agreement (“Performance Assurance”). This assurance will be provided to NYSEG by the expected effective date in the Agreement. This assurance includes the ability of Bidder to fund the reliability Proposal as described in this RFP. Bidder is required to complete and submit the Third-Party Lite Assessment Form in their response which is Attachment E.

If any non-public information is available and requested to be shared, Bidder shall be required to complete and submit the Confidentiality Agreement (Attachment D) and the Data Security Rider with Cyber Insurance requirements (Attachment F) prior to receipt of the non-public information.

In the event Bidder is awarded an Agreement to provide the resources negotiated as part of this RFP, prior to or concurrent with the execution of a Contract to secure these resources, Bidder shall be required to complete and submit both the Confidentiality Agreement (Attachment D) and the Data Security Rider with Cyber Insurance requirements (Attachment F) if those agreements are not already in place and applicable to the Agreement associated with this RFP.

In the event Bidder would like to execute a Confidentiality Agreement prior to the submission of a Proposal to this RFP, the Confidentiality Agreement (Attachment D) should be executed by the Bidder and sent to NYSEG for execution.

F. Bidder’s Waiver of Claims and Limitations of Remedies 

Except as expressly set forth in this RFP, by submitting a Proposal, Bidder knowingly and voluntarily waives any rights under statute, regulation, state or federal constitution, or common law to assert any claim or complaint or other challenge in any regulatory, judicial or other forum, including the NYPSC, the FERC, the Supreme Court or any other court in the  State of New York (“State Court”) or United States District Court or any other United States Court (“Federal Court”) concerning or related in any way to the RFP and/or any appendices to the RFP (“Waived Claims”). The assertion of any Waived Claims by Bidder at the NYPSC, FERC, State Court, Federal Court, or otherwise shall, to the extent that Bidder’s Proposal has not already been disqualified, provide NYSEG the right, and may result in NYSEG electing, to reject such Proposal or terminate the RFP.

By submitting a Proposal, Bidder further agrees that the sole forum in which Bidder may assert any challenge with respect to the conduct or results of the RFP is the NYPSC. Bidder further agrees that the sole means of challenging the conduct or results of the RFP is a protest to NYSEG’s filing before the NYPSC seeking approval of one or more Agreements entered into as an eventual result of the RFP. Bidder further agrees that the sole basis for any such protest shall be a challenge to the conduct or results of the RFP on the grounds that NYSEG failed in a material respect to conduct the RFP in accordance with the RFP rules and procedures outlined in this document, and the exclusive remedy available to Bidder in the case of such a protest shall be an order of the NYPSC that NYSEG again conduct any portion of the RFP that the NYPSC determines was not previously conducted in accordance with the RFP rules and procedures outlined in this document. Bidder expressly waives any and all other remedies, including, without limitation, compensatory and/or exemplary damages, restitution, injunctive relief, interest, costs, and/or attorneys’ fees. Unless NYSEG elects to do otherwise in its sole discretion, during the pendency of such a protest the RFP and any related regulatory proceedings related to the RFP will continue as if the protest had not been filed, unless the NYPSC has issued an order suspending the RFP or NYSEG has elected to terminate the RFP.

G. Termination of the RFP and Related Matters

NYSEG reserves the right at any time, in its sole discretion, to terminate the RFP for any reason whatsoever without prior notification to Bidders and without liability of any kind to or responsibility of NYSEG or anyone acting on NYSEG's behalf. Without limitation, grounds for termination of the RFP may include the assertion of any Waived Claims by Bidder or a determination by NYSEG that, following evaluation of the Proposals, there are no Proposals that provide adequate ratepayer benefit.
NYSEG reserves the right to change the Proposal evaluation criteria for any reason, to terminate further participation in this process by Bidder, to accept any Proposal or to enter into any definitive Agreement, to evaluate the qualifications of Bidder, and to reject any or all Proposals, all without notice and without assigning any reasons and without liability to NYSEG or anyone acting on NYSEG’s behalf. NYSEG shall have no obligation to consider any Proposal.
In the event of termination of the RFP for any reason, NYSEG will not reimburse Bidder or Participant(s) for any expenses incurred in connection with the RFP regardless of whether Bidder’s Proposal is selected, not selected, rejected or disqualified. 
VIII. Attachments
A. Definitions

B. Customer Counts by Street

C. NYSEG Lansing Gas Franchise Filing

D. Lansing NPA Confidentiality Agreement

E. Lansing NPA Third Party Lite Assessment 

F. Data Security Rider and Cyber Insurance
G. Bidder Proposal Template
[image: image4.png]


[image: image5.wmf]
� NYSEG will consider both proposals which are below 120 Mcfh and make a material contribution to reaching the desired 70% MAOP, as well as proposals which  are above 120 Mcfh which  may provide additional system improvement above that which is specifically requested in this RFP.


� If Proposals provide “Beneficial Electrification” NYSEG will analyze the capability of the existing electric distribution system to support those additional demands. Depending on where additional electric load will be introduced, overloads on existing equipment may result. This cannot be determined until the exact location(s) of where the additional electric load will be introduced are identified. If system improvements to the electric distribution system are required for the safe and effective operation of the proposed RFP resources on the electric distribution system, NYSEG will identify the costs of those improvements, and the cost of required improvements may be included in the project’s BCA evaluation. Please utilize the following website as a reference to determine where the noted circuits are located: https://iusamsda.maps.arcgis.com/apps/webappviewer/index.html?id=2f29c88b9ab34a1ea25e07ac59b6ec56.


� If RNG, CNG or LNG is proposed, Bidder will be required to meet applicable tap agreement requirements, gas quality requirements, gas supply agreements and gas storage requirements. RNG Bidders may take ownership of RINS credits generated and should include details of their plan to monetize these credits in their Proposal.


� NYSEG reserves the right to adjust the schedule; adjustments outside of date ranges provided will be distributed via email to interested Bidders.


� Bidders have until February 21, 2020 to request one-on-one training on the Bidder Response Template which is a requirement for bid responses to this RFP.


� NYSEG will utilize a Benefit Cost Analysis (“BCA”) process to evaluate Responses/Proposals. Although the details of project BCA results will not be made public in order to protect the confidentiality of the Bidders, if a petition is filed with the NY PSC it will include high level BCA results (costs and benefits).


� “Net Carbon Reduction Analysis” is a process which identifies and monetizes the positive value of projects which remove carbon from the atmosphere, and that monetized value is utilized as a benefit in the formal BCA framework. For example, projects which remove fossil fuel combustion (from natural gas or other fuels) and replace it with electrification should be expected to have a positive benefit from a net carbon reduction analysis, so long as the source of the electric generation used is primarily renewable or other clean energy sources.





18 Link Drive, Binghamton NY, 13904

Page 4 of 32

